## Sheet1
Row | PLC data from schematic | [7 empty] | New PLC data / From assignment list
1 | CPU (indirect) | PLC address | Data type | Symbolic address (automatic) | Function text (automatic) | DT (identifying) | Connection point designation (with plug designation (automatic)) | Direction | PLC address | Data type | Symbolic address (automatic) | Function text (automatic)
284 | [5 empty] | =0LPY01+0LPY01-A100 | FE | Undefined
285 |  | I0.0 | BOOL | =0LPY01+0LPY01-F37:14 | 24 VDC MCB GROUP OK - ALARM | =0LPY01+0LPY01-A111 | 1 | Input | I0.0 | BOOL | =0LPY01+0LPY01-F37:14 | 24 VDC MCB GROUP OK - ALARM
286 |  | I0.1 | BOOL | =0LPY01+0LPY01-F44:14 | 24 VDC MCB GROUP OK - TRIP | =0LPY01+0LPY01-A111 | 2 | Input | I0.1 | BOOL | =0LPY01+0LPY01-F44:14 | 24 VDC MCB GROUP OK - TRIP
287 |  | I0.2 | BOOL | =0LPY01+0LPY01-U101:Signal:3.1 | RECTIFIER OK | =0LPY01+0LPY01-A111 | 3 | Input | I0.2 | BOOL | =0LPY01+0LPY01-U101:Signal:3.1 | RECTIFIER OK
288 |  | I0.3 | BOOL | =0LPY01+0LPY01-U101:Signal:3.2 | UPS ALARM OK | =0LPY01+0LPY01-A111 | 4 | Input | I0.3 | BOOL | =0LPY01+0LPY01-U101:Signal:3.2 | UPS ALARM OK
289 |  | I0.4 | BOOL | =0LPY01+0LPY01-U101:Signal:3.3 | UPS NORMAL OPERATION | =0LPY01+0LPY01-A111 | 5 | Input | I0.4 | BOOL | =0LPY01+0LPY01-U101:Signal:3.3 | UPS NORMAL OPERATION
290 |  | I0.5 | BOOL | =0LPY01+0LPY01-U101:Signal:3.4 | UPS BATTERY >85% | =0LPY01+0LPY01-A111 | 6 | Input | I0.5 | BOOL | =0LPY01+0LPY01-U101:Signal:3.4 | UPS BATTERY >85%
291 |  | I0.6 | BOOL | =0LPY01+0LPY01-S301:12 | E-OFF | =0LPY01+0LPY01-A111 | 7 | Input | I0.6 | BOOL | =0LPY01+0LPY01-S301:12 | E-OFF
292 |  | I0.7 | BOOL | =0LPY01+0LPY01-X32:20 | SPARE | =0LPY01+0LPY01-A111 | 8 | Input | I0.7 | BOOL | =0LPY01+0LPY01-X32:20 | SPARE
293 |  | I1.0 | BOOL | =0LPY01+0LPY01-1K11:14 | TRANSFORMER INTAKE (PLANT SIDE) TEMPERATURE ALARM OK | =0LPY01+0LPY01-A111 | 9 | Input | I1.0 | BOOL | =0LPY01+0LPY01-1K11:14 | TRANSFORMER INTAKE (PLANT SIDE) TEMPERATURE ALARM OK
294 |  | I1.1 | BOOL | =0LPY01+0LPY01-1K12:14 | TRANSFORMER INTAKE (PLANT SIDE) TEMPERATURE TRIP OK | =0LPY01+0LPY01-A111 | 10 | Input | I1.1 | BOOL | =0LPY01+0LPY01-1K12:14 | TRANSFORMER INTAKE (PLANT SIDE) TEMPERATURE TRIP OK
295 |  | I1.2 | BOOL | =0LPY01+0LPY01-1K13:14 | SPARE | =0LPY01+0LPY01-A111 | 11 | Input | I1.2 | BOOL | =0LPY01+0LPY01-1K13:14 | SPARE
296 |  | I1.3 | BOOL | =0LPY01+0LPY01-1K14:14 | MAIN SUPPLY CB ON | =0LPY01+0LPY01-A111 | 12 | Input | I1.3 | BOOL | =0LPY01+0LPY01-1K14:14 | MAIN SUPPLY CB ON
297 |  | I1.4 | BOOL | =0LPY01+0LPY01-1K15:14 | MAIN SUPPLY CB TRIP | =0LPY01+0LPY01-A111 | 13 | Input | I1.4 | BOOL | =0LPY01+0LPY01-1K15:14 | MAIN SUPPLY CB TRIP
298 |  | I1.5 | BOOL | =0LPY01+0LPY01-1K16:14 | DIESEL GROUP CB ON | =0LPY01+0LPY01-A111 | 14 | Input | I1.5 | BOOL | =0LPY01+0LPY01-1K16:14 | DIESEL GROUP CB ON
299 |  | I1.6 | BOOL | =0LPY01+0LPY01-1K17:14 | DIESEL GROUP CB TRIP | =0LPY01+0LPY01-A111 | 15 | Input | I1.6 | BOOL | =0LPY01+0LPY01-1K17:14 | DIESEL GROUP CB TRIP
300 |  | I1.7 | BOOL | =0LPY01+0LPY01-1K18:14 | MAIN SUPPLY CB AUTOMATIC | =0LPY01+0LPY01-A111 | 16 | Input | I1.7 | BOOL | =0LPY01+0LPY01-1K18:14 | MAIN SUPPLY CB AUTOMATIC
301 |  | I2.0 | BOOL | =0LPY01+0LPY01-1K21:14 | DIESEL GROUP CB AUTOMATIC | =0LPY01+0LPY01-A112 | 1 | Input | I2.0 | BOOL | =0LPY01+0LPY01-1K21:14 | DIESEL GROUP CB AUTOMATIC
302 |  | I2.1 | BOOL | =0LPY01+0LPY01-1K22:14 | AC SURGE ARRESTER CONNECTED | =0LPY01+0LPY01-A112 | 2 | Input | I2.1 | BOOL | =0LPY01+0LPY01-1K22:14 | AC SURGE ARRESTER CONNECTED
303 |  | I2.2 | BOOL | =0LPY01+0LPY01-1K23:14 | AC VOLTAGE OK | =0LPY01+0LPY01-A112 | 3 | Input | I2.2 | BOOL | =0LPY01+0LPY01-1K23:14 | AC VOLTAGE OK
304 |  | I2.3 | BOOL | =0LPY01+0LPY01-1K24:14 | AC VOLTAGE MCB OK | =0LPY01+0LPY01-A112 | 4 | Input | I2.3 | BOOL | =0LPY01+0LPY01-1K24:14 | AC VOLTAGE MCB OK
305 |  | I2.4 | BOOL | =0LPY01+0LPY01-1K25:14 | TRASH RACK CB RDY | =0LPY01+0LPY01-A112 | 5 | Input | I2.4 | BOOL | =0LPY01+0LPY01-1K25:14 | TRASH RACK CB RDY
306 |  | I2.5 | BOOL | =0LPY01+0LPY01-1K26:14 | ACTUATORS 1 CB RDY | =0LPY01+0LPY01-A112 | 6 | Input | I2.5 | BOOL | =0LPY01+0LPY01-1K26:14 | ACTUATORS 1 CB RDY
307 |  | I2.6 | BOOL | =0LPY01+0LPY01-1K27:14 | ACTUATORS 2 CB RDY | =0LPY01+0LPY01-A112 | 7 | Input | I2.6 | BOOL | =0LPY01+0LPY01-1K27:14 | ACTUATORS 2 CB RDY
308 |  | I2.7 | BOOL | =0LPY01+0LPY01-1K28:14 | ACTUATORS 3 CB RDY | =0LPY01+0LPY01-A112 | 8 | Input | I2.7 | BOOL | =0LPY01+0LPY01-1K28:14 | ACTUATORS 3 CB RDY
309 |  | I3.0 | BOOL | =0LPY01+0LPY01-1K31:14 | HPU FOR RADIAL GATE CB RDY | =0LPY01+0LPY01-A112 | 9 | Input | I3.0 | BOOL | =0LPY01+0LPY01-1K31:14 | HPU FOR RADIAL GATE CB RDY
310 |  | I3.1 | BOOL | =0LPY01+0LPY01-1K32:14 | HPU FOR RADIAL GATE CONTACTOR ON | =0LPY01+0LPY01-A112 | 10 | Input | I3.1 | BOOL | =0LPY01+0LPY01-1K32:14 | HPU FOR RADIAL GATE CONTACTOR ON
311 |  | I3.2 | BOOL | =0LPY01+0LPY01-1K33:14 | AC MCB OK GROUP 1 - ALARM | =0LPY01+0LPY01-A112 | 11 | Input | I3.2 | BOOL | =0LPY01+0LPY01-1K33:14 | AC MCB OK GROUP 1 - ALARM
312 |  | I3.3 | BOOL | =0LPY01+0LPY01-1K34:14 | AUTOMATIC TRANSFER CONTROL | =0LPY01+0LPY01-A112 | 12 | Input | I3.3 | BOOL | =0LPY01+0LPY01-1K34:14 | AUTOMATIC TRANSFER CONTROL
313 |  | I3.4 | BOOL | =0LPY01+0LPY01-1K35:14 | MANUAL TRANSFER CONTROL | =0LPY01+0LPY01-A112 | 13 | Input | I3.4 | BOOL | =0LPY01+0LPY01-1K35:14 | MANUAL TRANSFER CONTROL
314 |  | I3.5 | BOOL | =0LPY01+0LPY01-1K36:14 | SPARE | =0LPY01+0LPY01-A112 | 14 | Input | I3.5 | BOOL | =0LPY01+0LPY01-1K36:14 | SPARE
315 |  | I3.6 | BOOL | =0LPY01+0LPY01-1K37:14 | SPARE | =0LPY01+0LPY01-A112 | 15 | Input | I3.6 | BOOL | =0LPY01+0LPY01-1K37:14 | SPARE
316 |  | I3.7 | BOOL | =0LPY01+0LPY01-1K38:14 | SPARE | =0LPY01+0LPY01-A112 | 16 | Input | I3.7 | BOOL | =0LPY01+0LPY01-1K38:14 | SPARE
317 |  | I4.0 | BOOL | =0LPY01+0LPY01-1K41:14 | SPARE | =0LPY01+0LPY01-A113 | 1 | Input | I4.0 | BOOL | =0LPY01+0LPY01-1K41:14 | SPARE
318 |  | I4.1 | BOOL | =0LPY01+0LPY01-1K42:14 | SPARE | =0LPY01+0LPY01-A113 | 2 | Input | I4.1 | BOOL | =0LPY01+0LPY01-1K42:14 | SPARE
319 |  | I4.2 | BOOL | =0LPY01+0LPY01-1K43:14 | SPARE | =0LPY01+0LPY01-A113 | 3 | Input | I4.2 | BOOL | =0LPY01+0LPY01-1K43:14 | SPARE
320 |  | I4.3 | BOOL | =0LPY01+0LPY01-1K44:14 | SPARE | =0LPY01+0LPY01-A113 | 4 | Input | I4.3 | BOOL | =0LPY01+0LPY01-1K44:14 | SPARE
321 |  | I4.4 | BOOL | =0LPY01+0LPY01-1K45:14 | SPARE | =0LPY01+0LPY01-A113 | 5 | Input | I4.4 | BOOL | =0LPY01+0LPY01-1K45:14 | SPARE
322 |  | I4.5 | BOOL | =0LPY01+0LPY01-1K46:14 | SPARE | =0LPY01+0LPY01-A113 | 6 | Input | I4.5 | BOOL | =0LPY01+0LPY01-1K46:14 | SPARE
323 |  | I4.6 | BOOL | =0LPY01+0LPY01-1K47:14 | SPARE | =0LPY01+0LPY01-A113 | 7 | Input | I4.6 | BOOL | =0LPY01+0LPY01-1K47:14 | SPARE
324 |  | I4.7 | BOOL | =0LPY01+0LPY01-1K48:14 | SPARE | =0LPY01+0LPY01-A113 | 8 | Input | I4.7 | BOOL | =0LPY01+0LPY01-1K48:14 | SPARE
325 |  | I5.0 | BOOL | =0LPY01+0LPY01-1K51:14 | SPARE | =0LPY01+0LPY01-A113 | 9 | Input | I5.0 | BOOL | =0LPY01+0LPY01-1K51:14 | SPARE
326 |  | I5.1 | BOOL | =0LPY01+0LPY01-1K52:14 | SPARE | =0LPY01+0LPY01-A113 | 10 | Input | I5.1 | BOOL | =0LPY01+0LPY01-1K52:14 | SPARE
327 |  | I5.2 | BOOL | =0LPY01+0LPY01-1K53:14 | SPARE | =0LPY01+0LPY01-A113 | 11 | Input | I5.2 | BOOL | =0LPY01+0LPY01-1K53:14 | SPARE
328 |  | I5.3 | BOOL | =0LPY01+0LPY01-1K54:14 | SPARE | =0LPY01+0LPY01-A113 | 12 | Input | I5.3 | BOOL | =0LPY01+0LPY01-1K54:14 | SPARE
329 |  | I5.4 | BOOL | =0LPY01+0LPY01-1K55:14 | SPARE | =0LPY01+0LPY01-A113 | 13 | Input | I5.4 | BOOL | =0LPY01+0LPY01-1K55:14 | SPARE
330 |  | I5.5 | BOOL | =0LPY01+0LPY01-1K56:14 | SPARE | =0LPY01+0LPY01-A113 | 14 | Input | I5.5 | BOOL | =0LPY01+0LPY01-1K56:14 | SPARE
331 |  | I5.6 | BOOL | =0LPY01+0LPY01-1K57:14 | SPARE | =0LPY01+0LPY01-A113 | 15 | Input | I5.6 | BOOL | =0LPY01+0LPY01-1K57:14 | SPARE
332 |  | I5.7 | BOOL | =0LPY01+0LPY01-1K58:14 | INTAKE DIESEL GENERATOR ALARM | =0LPY01+0LPY01-A113 | 16 | Input | I5.7 | BOOL | =0LPY01+0LPY01-1K58:14 | INTAKE DIESEL GENERATOR ALARM
333 |  | I6.0 | BOOL | =0LPY01+0LPY01-1K61:14 | INTAKE DIESEL GENERATOR TRIP | =0LPY01+0LPY01-A114 | 1 | Input | I6.0 | BOOL | =0LPY01+0LPY01-1K61:14 | INTAKE DIESEL GENERATOR TRIP
334 |  | I6.1 | BOOL | =0LPY01+0LPY01-1K62:14 | SCREEN CLEANING EQUIPMENT READY/FAULT | =0LPY01+0LPY01-A114 | 2 | Input | I6.1 | BOOL | =0LPY01+0LPY01-1K62:14 | SCREEN CLEANING EQUIPMENT READY/FAULT
335 |  | I6.2 | BOOL | =0LPY01+0LPY01-1K63:14 | SCREEN CLEANING EQUIPMENT IN OPERATION | =0LPY01+0LPY01-A114 | 3 | Input | I6.2 | BOOL | =0LPY01+0LPY01-1K63:14 | SCREEN CLEANING EQUIPMENT IN OPERATION
336 |  | I6.3 | BOOL | =0LPY01+0LPY01-1K64:14 | SCREEN CLEANING EQUIPMENT SPARE | =0LPY01+0LPY01-A114 | 4 | Input | I6.3 | BOOL | =0LPY01+0LPY01-1K64:14 | SCREEN CLEANING EQUIPMENT SPARE
337 |  | I6.4 | BOOL | =0LPY01+0LPY01-1K65:14 | RADIAL GATE SIGNAL READY/FAULT | =0LPY01+0LPY01-A114 | 5 | Input | I6.4 | BOOL | =0LPY01+0LPY01-1K65:14 | RADIAL GATE SIGNAL READY/FAULT
338 |  | I6.5 | BOOL | =0LPY01+0LPY01-1K66:14 | RADIAL GATE SIGNAL IN OPERATION | =0LPY01+0LPY01-A114 | 6 | Input | I6.5 | BOOL | =0LPY01+0LPY01-1K66:14 | RADIAL GATE SIGNAL IN OPERATION
339 |  | I6.6 | BOOL | =0LPY01+0LPY01-1K67:14 | RADIAL GATE SIGNAL BLOCKED 1 | =0LPY01+0LPY01-A114 | 7 | Input | I6.6 | BOOL | =0LPY01+0LPY01-1K67:14 | RADIAL GATE SIGNAL BLOCKED 1
340 |  | I6.7 | BOOL | =0LPY01+0LPY01-1K68:14 | RADIAL GATE SIGNAL BLOCKED 2 | =0LPY01+0LPY01-A114 | 8 | Input | I6.7 | BOOL | =0LPY01+0LPY01-1K68:14 | RADIAL GATE SIGNAL BLOCKED 2
341 |  | I7.0 | BOOL | =0LPY01+0LPY01-1K71:14 | RADIAL GATE SIGNAL SPARE | =0LPY01+0LPY01-A114 | 9 | Input | I7.0 | BOOL | =0LPY01+0LPY01-1K71:14 | RADIAL GATE SIGNAL SPARE
342 |  | I7.1 | BOOL | =0LPY01+0LPY01-1K72:14 | FLAT GATE SIGNAL READY/FAULT | =0LPY01+0LPY01-A114 | 10 | Input | I7.1 | BOOL | =0LPY01+0LPY01-1K72:14 | FLAT GATE SIGNAL READY/FAULT
343 |  | I7.2 | BOOL | =0LPY01+0LPY01-1K73:14 | FLAT GATE SIGNAL IN OPERATION | =0LPY01+0LPY01-A114 | 11 | Input | I7.2 | BOOL | =0LPY01+0LPY01-1K73:14 | FLAT GATE SIGNAL IN OPERATION
344 |  | I7.3 | BOOL | =0LPY01+0LPY01-1K74:14 | FLAT GATE SIGNAL BLOCKED 1 | =0LPY01+0LPY01-A114 | 12 | Input | I7.3 | BOOL | =0LPY01+0LPY01-1K74:14 | FLAT GATE SIGNAL BLOCKED 1
345 |  | I7.4 | BOOL | =0LPY01+0LPY01-1K75:14 | FLAT GATE SIGNAL BLOCKED 2 | =0LPY01+0LPY01-A114 | 13 | Input | I7.4 | BOOL | =0LPY01+0LPY01-1K75:14 | FLAT GATE SIGNAL BLOCKED 2
346 |  | I7.5 | BOOL | =0LPY01+0LPY01-1K76:14 | SAND TRAP INLET GATE 1 READY/FAULT | =0LPY01+0LPY01-A114 | 14 | Input | I7.5 | BOOL | =0LPY01+0LPY01-1K76:14 | SAND TRAP INLET GATE 1 READY/FAULT
347 |  | I7.6 | BOOL | =0LPY01+0LPY01-1K77:14 | SAND TRAP INLET GATE 1 IN OPERATION | =0LPY01+0LPY01-A114 | 15 | Input | I7.6 | BOOL | =0LPY01+0LPY01-1K77:14 | SAND TRAP INLET GATE 1 IN OPERATION
348 |  | I7.7 | BOOL | =0LPY01+0LPY01-1K78:14 | SAND TRAP INLET GATE 2 READY/FAULT | =0LPY01+0LPY01-A114 | 16 | Input | I7.7 | BOOL | =0LPY01+0LPY01-1K78:14 | SAND TRAP INLET GATE 2 READY/FAULT
349 |  | I8.0 | BOOL | =0LPY01+0LPY01-1K81:14 | SAND TRAP INLET GATE 2 IN OPERATION | =0LPY01+0LPY01-A115 | 1 | Input | I8.0 | BOOL | =0LPY01+0LPY01-1K81:14 | SAND TRAP INLET GATE 2 IN OPERATION
350 |  | I8.1 | BOOL | =0LPY01+0LPY01-1K82:14 | SAND TRAP INLET GATE 3 READY/FAULT | =0LPY01+0LPY01-A115 | 2 | Input | I8.1 | BOOL | =0LPY01+0LPY01-1K82:14 | SAND TRAP INLET GATE 3 READY/FAULT
351 |  | I8.2 | BOOL | =0LPY01+0LPY01-1K83:14 | SAND TRAP INLET GATE 3 IN OPERATION | =0LPY01+0LPY01-A115 | 3 | Input | I8.2 | BOOL | =0LPY01+0LPY01-1K83:14 | SAND TRAP INLET GATE 3 IN OPERATION
352 |  | I8.3 | BOOL | =0LPY01+0LPY01-1K84:14 | TUNNEL FILLING GATE 1 READY/FAULT | =0LPY01+0LPY01-A115 | 4 | Input | I8.3 | BOOL | =0LPY01+0LPY01-1K84:14 | TUNNEL FILLING GATE 1 READY/FAULT
353 |  | I8.4 | BOOL | =0LPY01+0LPY01-1K85:14 | TUNNEL FILLING GATE 1 IN OPERATION | =0LPY01+0LPY01-A115 | 5 | Input | I8.4 | BOOL | =0LPY01+0LPY01-1K85:14 | TUNNEL FILLING GATE 1 IN OPERATION
354 |  | I8.5 | BOOL | =0LPY01+0LPY01-1K86:14 | TUNNEL FILLING GATE 2 READY/FAULT | =0LPY01+0LPY01-A115 | 6 | Input | I8.5 | BOOL | =0LPY01+0LPY01-1K86:14 | TUNNEL FILLING GATE 2 READY/FAULT
355 |  | I8.6 | BOOL | =0LPY01+0LPY01-1K87:14 | TUNNEL FILLING GATE 2 IN OPERATION | =0LPY01+0LPY01-A115 | 7 | Input | I8.6 | BOOL | =0LPY01+0LPY01-1K87:14 | TUNNEL FILLING GATE 2 IN OPERATION
356 |  | I8.7 | BOOL | =0LPY01+0LPY01-1K88:14 | TUNNEL FILLING GATE 3 READY/FAULT | =0LPY01+0LPY01-A115 | 8 | Input | I8.7 | BOOL | =0LPY01+0LPY01-1K88:14 | TUNNEL FILLING GATE 3 READY/FAULT
357 |  | I9.0 | BOOL | =0LPY01+0LPY01-1K91:14 | TUNNEL FILLING GATE 3 IN OPERATION | =0LPY01+0LPY01-A115 | 9 | Input | I9.0 | BOOL | =0LPY01+0LPY01-1K91:14 | TUNNEL FILLING GATE 3 IN OPERATION
358 |  | I9.1 | BOOL | =0LPY01+0LPY01-1K92:14 | ENVIRONMENTAL (ECOLOGICAL) GATE SIGNAL READY/FAULT | =0LPY01+0LPY01-A115 | 10 | Input | I9.1 | BOOL | =0LPY01+0LPY01-1K92:14 | ENVIRONMENTAL (ECOLOGICAL) GATE SIGNAL READY/FAULT
359 |  | I9.2 | BOOL | =0LPY01+0LPY01-1K93:14 | ENVIRONMENTAL (ECOLOGICAL) GATE SIGNAL IN OPERATION | =0LPY01+0LPY01-A115 | 11 | Input | I9.2 | BOOL | =0LPY01+0LPY01-1K93:14 | ENVIRONMENTAL (ECOLOGICAL) GATE SIGNAL IN OPERATION
360 |  | I9.3 | BOOL | =0LPY01+0LPY01-1K94:14 | SPARE | =0LPY01+0LPY01-A115 | 12 | Input | I9.3 | BOOL | =0LPY01+0LPY01-1K94:14 | SPARE
361 |  | I9.4 | BOOL | =0LPY01+0LPY01-1K95:14 | SPARE | =0LPY01+0LPY01-A115 | 13 | Input | I9.4 | BOOL | =0LPY01+0LPY01-1K95:14 | SPARE
362 |  | I9.5 | BOOL | =0LPY01+0LPY01-1K96:14 | SPARE | =0LPY01+0LPY01-A115 | 14 | Input | I9.5 | BOOL | =0LPY01+0LPY01-1K96:14 | SPARE
363 |  | I9.6 | BOOL | =0LPY01+0LPY01-1K97:14 | SPARE | =0LPY01+0LPY01-A115 | 15 | Input | I9.6 | BOOL | =0LPY01+0LPY01-1K97:14 | SPARE
364 |  | I9.7 | BOOL | =0LPY01+0LPY01-1K98:14 | SPARE | =0LPY01+0LPY01-A115 | 16 | Input | I9.7 | BOOL | =0LPY01+0LPY01-1K98:14 | SPARE
365 |  | Q0.0 | BOOL | =0LPY01+0LPY01-2K01:A1 | PLC ESD OK | =0LPY01+0LPY01-A131 | 1 | Output | Q0.0 | BOOL | =0LPY01+0LPY01-2K01:A1 | PLC ESD OK
366 |  | Q0.1 | BOOL | =0LPY01+0LPY01-2K02:A1 | SCREEN CLEANING EQUIPMENT START AUTO | =0LPY01+0LPY01-A131 | 2 | Output | Q0.1 | BOOL | =0LPY01+0LPY01-2K02:A1 | SCREEN CLEANING EQUIPMENT START AUTO
367 |  | Q0.2 | BOOL | =0LPY01+0LPY01-2K03:A1 | SCREEN CLEANING EQUIPMENT STOP | =0LPY01+0LPY01-A131 | 3 | Output | Q0.2 | BOOL | =0LPY01+0LPY01-2K03:A1 | SCREEN CLEANING EQUIPMENT STOP
368 |  | Q0.3 | BOOL | =0LPY01+0LPY01-2K04:A1 | SCREEN CLEANING EQUIPMENT EMPTY TANK | =0LPY01+0LPY01-A131 | 4 | Output | Q0.3 | BOOL | =0LPY01+0LPY01-2K04:A1 | SCREEN CLEANING EQUIPMENT EMPTY TANK
369 |  | Q0.4 | BOOL | =0LPY01+0LPY01-2K05:A1 | SCREEN CLEANING EQUIPMENT SPARE | =0LPY01+0LPY01-A131 | 5 | Output | Q0.4 | BOOL | =0LPY01+0LPY01-2K05:A1 | SCREEN CLEANING EQUIPMENT SPARE
370 |  | Q0.5 | BOOL | =0LPY01+0LPY01-2K06:A1 | RADIAL GATE OPEN | =0LPY01+0LPY01-A131 | 6 | Output | Q0.5 | BOOL | =0LPY01+0LPY01-2K06:A1 | RADIAL GATE OPEN
371 |  | Q0.6 | BOOL | =0LPY01+0LPY01-2K07:A1 | RADIAL GATE CLOSE | =0LPY01+0LPY01-A131 | 7 | Output | Q0.6 | BOOL | =0LPY01+0LPY01-2K07:A1 | RADIAL GATE CLOSE
372 |  | Q0.7 | BOOL | =0LPY01+0LPY01-2K08:A1 | RADIAL GATE STOP | =0LPY01+0LPY01-A131 | 8 | Output | Q0.7 | BOOL | =0LPY01+0LPY01-2K08:A1 | RADIAL GATE STOP
373 |  | Q1.0 | BOOL | =0LPY01+0LPY01-2K09:A1 | RADIAL GATE SPARE | =0LPY01+0LPY01-A131 | 9 | Output | Q1.0 | BOOL | =0LPY01+0LPY01-2K09:A1 | RADIAL GATE SPARE
374 |  | Q1.1 | BOOL | =0LPY01+0LPY01-2K10:A1 | FLAT GATE OPEN | =0LPY01+0LPY01-A131 | 10 | Output | Q1.1 | BOOL | =0LPY01+0LPY01-2K10:A1 | FLAT GATE OPEN
375 |  | Q1.2 | BOOL | =0LPY01+0LPY01-2K11:A1 | FLAT GATE CLOSE | =0LPY01+0LPY01-A131 | 11 | Output | Q1.2 | BOOL | =0LPY01+0LPY01-2K11:A1 | FLAT GATE CLOSE
376 |  | Q1.3 | BOOL | =0LPY01+0LPY01-2K12:A1 | FLAT GATE STOP | =0LPY01+0LPY01-A131 | 12 | Output | Q1.3 | BOOL | =0LPY01+0LPY01-2K12:A1 | FLAT GATE STOP
377 |  | Q1.4 | BOOL | =0LPY01+0LPY01-2K13:A1 | SAND TRAP INLET GATE 1 OPEN | =0LPY01+0LPY01-A131 | 13 | Output | Q1.4 | BOOL | =0LPY01+0LPY01-2K13:A1 | SAND TRAP INLET GATE 1 OPEN
378 |  | Q1.5 | BOOL | =0LPY01+0LPY01-2K14:A1 | SAND TRAP INLET GATE 1 CLOSE | =0LPY01+0LPY01-A131 | 14 | Output | Q1.5 | BOOL | =0LPY01+0LPY01-2K14:A1 | SAND TRAP INLET GATE 1 CLOSE
379 |  | Q1.6 | BOOL | =0LPY01+0LPY01-2K15:A1 | SAND TRAP INLET GATE 1 STOP | =0LPY01+0LPY01-A131 | 15 | Output | Q1.6 | BOOL | =0LPY01+0LPY01-2K15:A1 | SAND TRAP INLET GATE 1 STOP
380 |  | Q1.7 | BOOL | =0LPY01+0LPY01-2K16:A1 | SAND TRAP INLET GATE 2 OPEN | =0LPY01+0LPY01-A131 | 16 | Output | Q1.7 | BOOL | =0LPY01+0LPY01-2K16:A1 | SAND TRAP INLET GATE 2 OPEN
381 |  | Q2.0 | BOOL | =0LPY01+0LPY01-2K17:A1 | SAND TRAP INLET GATE 2 CLOSE | =0LPY01+0LPY01-A132 | 1 | Output | Q2.0 | BOOL | =0LPY01+0LPY01-2K17:A1 | SAND TRAP INLET GATE 2 CLOSE
382 |  | Q2.1 | BOOL | =0LPY01+0LPY01-2K18:A1 | SAND TRAP INLET GATE 2 STOP | =0LPY01+0LPY01-A132 | 2 | Output | Q2.1 | BOOL | =0LPY01+0LPY01-2K18:A1 | SAND TRAP INLET GATE 2 STOP
383 |  | Q2.2 | BOOL | =0LPY01+0LPY01-2K19:A1 | SAND TRAP INLET GATE 3 OPEN | =0LPY01+0LPY01-A132 | 3 | Output | Q2.2 | BOOL | =0LPY01+0LPY01-2K19:A1 | SAND TRAP INLET GATE 3 OPEN
384 |  | Q2.3 | BOOL | =0LPY01+0LPY01-2K20:A1 | SAND TRAP INLET GATE 3 CLOSE | =0LPY01+0LPY01-A132 | 4 | Output | Q2.3 | BOOL | =0LPY01+0LPY01-2K20:A1 | SAND TRAP INLET GATE 3 CLOSE
385 |  | Q2.4 | BOOL | =0LPY01+0LPY01-2K21:A1 | SAND TRAP INLET GATE 3 STOP | =0LPY01+0LPY01-A132 | 5 | Output | Q2.4 | BOOL | =0LPY01+0LPY01-2K21:A1 | SAND TRAP INLET GATE 3 STOP
386 |  | Q2.5 | BOOL | =0LPY01+0LPY01-2K22:A1 | TUNNEL FILLING GATE 1 OPEN | =0LPY01+0LPY01-A132 | 6 | Output | Q2.5 | BOOL | =0LPY01+0LPY01-2K22:A1 | TUNNEL FILLING GATE 1 OPEN
387 |  | Q2.6 | BOOL | =0LPY01+0LPY01-2K23:A1 | TUNNEL FILLING GATE 1 CLOSE | =0LPY01+0LPY01-A132 | 7 | Output | Q2.6 | BOOL | =0LPY01+0LPY01-2K23:A1 | TUNNEL FILLING GATE 1 CLOSE
388 |  | Q2.7 | BOOL | =0LPY01+0LPY01-2K24:A1 | TUNNEL FILLING GATE 1 STOP | =0LPY01+0LPY01-A132 | 8 | Output | Q2.7 | BOOL | =0LPY01+0LPY01-2K24:A1 | TUNNEL FILLING GATE 1 STOP
389 |  | Q3.0 | BOOL | =0LPY01+0LPY01-2K25:A1 | TUNNEL FILLING GATE 2 OPEN | =0LPY01+0LPY01-A132 | 9 | Output | Q3.0 | BOOL | =0LPY01+0LPY01-2K25:A1 | TUNNEL FILLING GATE 2 OPEN
390 |  | Q3.1 | BOOL | =0LPY01+0LPY01-2K26:A1 | TUNNEL FILLING GATE 2 CLOSE | =0LPY01+0LPY01-A132 | 10 | Output | Q3.1 | BOOL | =0LPY01+0LPY01-2K26:A1 | TUNNEL FILLING GATE 2 CLOSE
391 |  | Q3.2 | BOOL | =0LPY01+0LPY01-2K27:A1 | TUNNEL FILLING GATE 2 STOP | =0LPY01+0LPY01-A132 | 11 | Output | Q3.2 | BOOL | =0LPY01+0LPY01-2K27:A1 | TUNNEL FILLING GATE 2 STOP
392 |  | Q3.3 | BOOL | =0LPY01+0LPY01-2K28:A1 | TUNNEL FILLING GATE 3 OPEN | =0LPY01+0LPY01-A132 | 12 | Output | Q3.3 | BOOL | =0LPY01+0LPY01-2K28:A1 | TUNNEL FILLING GATE 3 OPEN
393 |  | Q3.4 | BOOL | =0LPY01+0LPY01-2K29:A1 | TUNNEL FILLING GATE 3 CLOSE | =0LPY01+0LPY01-A132 | 13 | Output | Q3.4 | BOOL | =0LPY01+0LPY01-2K29:A1 | TUNNEL FILLING GATE 3 CLOSE
394 |  | Q3.5 | BOOL | =0LPY01+0LPY01-2K30:A1 | TUNNEL FILLING GATE 3 STOP | =0LPY01+0LPY01-A132 | 14 | Output | Q3.5 | BOOL | =0LPY01+0LPY01-2K30:A1 | TUNNEL FILLING GATE 3 STOP
395 |  | Q3.6 | BOOL | =0LPY01+0LPY01-2K31:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE OPEN | =0LPY01+0LPY01-A132 | 15 | Output | Q3.6 | BOOL | =0LPY01+0LPY01-2K31:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE OPEN
396 |  | Q3.7 | BOOL | =0LPY01+0LPY01-2K32:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE CLOSE | =0LPY01+0LPY01-A132 | 16 | Output | Q3.7 | BOOL | =0LPY01+0LPY01-2K32:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE CLOSE
397 |  | Q4.0 | BOOL | =0LPY01+0LPY01-2K33:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE STOP | =0LPY01+0LPY01-A133 | 1 | Output | Q4.0 | BOOL | =0LPY01+0LPY01-2K33:A1 | ENVIRONMENTAL (ECOLOGICAL) GATE STOP
398 |  | Q4.1 | BOOL | =0LPY01+0LPY01-2K34:A1 | DIESEL PLANT START | =0LPY01+0LPY01-A133 | 2 | Output | Q4.1 | BOOL | =0LPY01+0LPY01-2K34:A1 | DIESEL PLANT START
399 |  | Q4.2 | BOOL | =0LPY01+0LPY01-2K35:A1 | DIESEL PLANT STOP | =0LPY01+0LPY01-A133 | 3 | Output | Q4.2 | BOOL | =0LPY01+0LPY01-2K35:A1 | DIESEL PLANT STOP
400 |  | Q4.3 | BOOL | =0LPY01+0LPY01-2K36:A1 | AC MAIN SUPPLY CB ON COMMAND | =0LPY01+0LPY01-A133 | 4 | Output | Q4.3 | BOOL | =0LPY01+0LPY01-2K36:A1 | AC MAIN SUPPLY CB ON COMMAND
401 |  | Q4.4 | BOOL | =0LPY01+0LPY01-2K37:A1 | AC MAIN SUPPLY CB OFF COMMAND | =0LPY01+0LPY01-A133 | 5 | Output | Q4.4 | BOOL | =0LPY01+0LPY01-2K37:A1 | AC MAIN SUPPLY CB OFF COMMAND
402 |  | Q4.5 | BOOL | =0LPY01+0LPY01-2K38:A1 | AC DIESEL SUPPLY CB ON COMMAND | =0LPY01+0LPY01-A133 | 6 | Output | Q4.5 | BOOL | =0LPY01+0LPY01-2K38:A1 | AC DIESEL SUPPLY CB ON COMMAND
403 |  | Q4.6 | BOOL | =0LPY01+0LPY01-2K39:A1 | AC DIESEL SUPPLY CB OFF COMMAND | =0LPY01+0LPY01-A133 | 7 | Output | Q4.6 | BOOL | =0LPY01+0LPY01-2K39:A1 | AC DIESEL SUPPLY CB OFF COMMAND
404 |  | Q4.7 | BOOL | =0LPY01+0LPY01-2K101:A1 | DIESEL GENERATOR RUN COMMAND | =0LPY01+0LPY01-A133 | 8 | Output | Q4.7 | BOOL | =0LPY01+0LPY01-2K101:A1 | DIESEL GENERATOR RUN COMMAND
405 |  | Q5.0 | BOOL | =0LPY01+0LPY01-2K102:A1 | SPARE (HPU FOR RADIAL GATE ON) | =0LPY01+0LPY01-A133 | 9 | Output | Q5.0 | BOOL | =0LPY01+0LPY01-2K102:A1 | SPARE (HPU FOR RADIAL GATE ON)
406 |  | Q5.1 | BOOL | =0LPY01+0LPY01-2K103:A1 | SPARE | =0LPY01+0LPY01-A133 | 10 | Output | Q5.1 | BOOL | =0LPY01+0LPY01-2K103:A1 | SPARE
407 |  | Q5.2 | BOOL | =0LPY01+0LPY01-2K104:A1 | SPARE | =0LPY01+0LPY01-A133 | 11 | Output | Q5.2 | BOOL | =0LPY01+0LPY01-2K104:A1 | SPARE
408 |  | Q5.3 | BOOL | =0LPY01+0LPY01-2K105:A1 | SPARE | =0LPY01+0LPY01-A133 | 12 | Output | Q5.3 | BOOL | =0LPY01+0LPY01-2K105:A1 | SPARE
409 |  | Q5.4 | BOOL | =0LPY01+0LPY01-2K40:A1 | SPARE | =0LPY01+0LPY01-A133 | 13 | Output | Q5.4 | BOOL | =0LPY01+0LPY01-2K40:A1 | SPARE
410 |  | Q5.5 | BOOL | =0LPY01+0LPY01-2K41:A1 | SPARE | =0LPY01+0LPY01-A133 | 14 | Output | Q5.5 | BOOL | =0LPY01+0LPY01-2K41:A1 | SPARE
411 |  | Q5.6 | BOOL | =0LPY01+0LPY01-2K42:A1 | SPARE | =0LPY01+0LPY01-A133 | 15 | Output | Q5.6 | BOOL | =0LPY01+0LPY01-2K42:A1 | SPARE
412 |  | Q5.7 | BOOL | =0LPY01+0LPY01-2K43:A1 | SPARE | =0LPY01+0LPY01-A133 | 16 | Output | Q5.7 | BOOL | =0LPY01+0LPY01-2K43:A1 | SPARE
413 | [5 empty] | =0LPY01+0LPY01-A141 | 11 | Undefined
414 | [5 empty] | =0LPY01+0LPY01-A141 | 12 | Undefined
415 | [5 empty] | =0LPY01+0LPY01-A141 | 3 | Undefined
416 | [5 empty] | =0LPY01+0LPY01-A141 | 4 | Undefined
417 | [5 empty] | =0LPY01+0LPY01-A141 | 7 | Undefined
418 | [5 empty] | =0LPY01+0LPY01-A141 | 8 | Undefined
419 | [5 empty] | =0LPY01+0LPY01-A141 | 1 | Undefined
420 | [5 empty] | =0LPY01+0LPY01-A141 | 2 | Undefined
421 |  | IW40 | WORD |  | HEADWATER LEVEL MEASUREMENT 1 | =0LPY01+0LPY01-A141 | 5;7;9;13;15 | Input | IW40 | WORD |  | HEADWATER LEVEL MEASUREMENT 1
422 |  | IW40 | WORD |  | HEADWATER LEVEL MEASUREMENT 1 | =0LPY01+0LPY01-A141 | 5 | Input | IW40 | WORD |  | HEADWATER LEVEL MEASUREMENT 1
423 |  | IW42 | WORD |  | HEADWATER LEVEL MEASUREMENT 2 | =0LPY01+0LPY01-A141 | 6 | Input | IW42 | WORD |  | HEADWATER LEVEL MEASUREMENT 2
424 |  | IW42 | WORD |  | HEADWATER LEVEL MEASUREMENT 2 | =0LPY01+0LPY01-A141 | 6;8;10;14;16 | Input | IW42 | WORD |  | HEADWATER LEVEL MEASUREMENT 2
425 |  | IW44 | WORD | =EQUIPO LIMPIA+EQUIPO LIMPIA-X?:? | SCREEN CLEANING¶EQUIPMENT SPARE | =0LPY01+0LPY01-A142 | 1 | Input | IW44 | WORD | =EQUIPO LIMPIA+EQUIPO LIMPIA-X?:? | SCREEN CLEANING¶EQUIPMENT SPARE
426 |  | IW46 | WORD | =COMPUERTA RADIAL+COMPUERTA RADIAL-X?:? | RADIAL GATE % POSITION | =0LPY01+0LPY01-A142 | 2 | Input | IW46 | WORD | =COMPUERTA RADIAL+COMPUERTA RADIAL-X?:? | RADIAL GATE % POSITION
427 |  | IW48 | WORD | =COMPUERTA 1 DE ENTRADA AL DESARENADOR+COMPUERTA 1 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 1 % POSITION | =0LPY01+0LPY01-A142 | 3 | Input | IW48 | WORD | =COMPUERTA 1 DE ENTRADA AL DESARENADOR+COMPUERTA 1 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 1 % POSITION
428 |  | IW50 | WORD | =COMPUERTA 2 DE ENTRADA AL DESARENADOR+COMPUERTA 2 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 2 % POSITION | =0LPY01+0LPY01-A142 | 4 | Input | IW50 | WORD | =COMPUERTA 2 DE ENTRADA AL DESARENADOR+COMPUERTA 2 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 2 % POSITION
429 |  | IW52 | WORD | =COMPUERTA 3 DE ENTRADA AL DESARENADOR+COMPUERTA 3 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 3 % POSITION | =0LPY01+0LPY01-A143 | 1 | Input | IW52 | WORD | =COMPUERTA 3 DE ENTRADA AL DESARENADOR+COMPUERTA 3 DE ENTRADA AL DESARENADOR-X?:? | SAND TRAP INLET GATE 3 % POSITION
430 |  | IW54 | WORD | =COMPUERTA 1 DE LLENADO TUNEL+COMPUERTA 1 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 1 % POSITION | =0LPY01+0LPY01-A143 | 2 | Input | IW54 | WORD | =COMPUERTA 1 DE LLENADO TUNEL+COMPUERTA 1 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 1 % POSITION
431 |  | IW56 | WORD | =COMPUERTA 2 DE LLENADO TUNEL+COMPUERTA 2 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 2 % POSITION | =0LPY01+0LPY01-A143 | 3 | Input | IW56 | WORD | =COMPUERTA 2 DE LLENADO TUNEL+COMPUERTA 2 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 2 % POSITION
432 |  | IW58 | WORD | =COMPUERTA 3 DE LLENADO TUNEL+COMPUERTA 3 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 3 % POSITION | =0LPY01+0LPY01-A143 | 4 | Input | IW58 | WORD | =COMPUERTA 3 DE LLENADO TUNEL+COMPUERTA 3 DE LLENADO TUNEL-X?:? | TUNNEL FILLING GATE 3 % POSITION
433 |  | IW60 | WORD | =COMPUERTA AMBIENTAL (ECOLÓGICA)+COMPUERTA AMBIENTAL (ECOLÓGICA)-X?:? | ENVIROMENTAL (ECOLOGICAL) GATE % POSITION | =0LPY01+0LPY01-A144 | 1 | Input | IW60 | WORD | =COMPUERTA AMBIENTAL (ECOLÓGICA)+COMPUERTA AMBIENTAL (ECOLÓGICA)-X?:? | ENVIROMENTAL (ECOLOGICAL) GATE % POSITION
434 |  | IW62 | WORD | =0LPY01+0LPY01-X34:43 | SPARE | =0LPY01+0LPY01-A144 | 2 | Input | IW62 | WORD | =0LPY01+0LPY01-X34:43 | SPARE
435 |  | IW64 | WORD | =0LPY01+0LPY01-X34:47 | SPARE | =0LPY01+0LPY01-A144 | 3 | Input | IW64 | WORD | =0LPY01+0LPY01-X34:47 | SPARE
436 |  | IW66 | WORD | =0LPY01+0LPY01-X34:51 | SPARE | =0LPY01+0LPY01-A144 | 4 | Input | IW66 | WORD | =0LPY01+0LPY01-X34:51 | SPARE
437 |  | QW40 | WORD | =EQUIPO LIMPIA+EQUIPO LIMPIA-X?:? | SCREEN CLEANING EQUIPMENT SPARE | =0LPY01+0LPY01-A151 | 1 | Output | QW40 | WORD | =EQUIPO LIMPIA+EQUIPO LIMPIA-X?:? | SCREEN CLEANING EQUIPMENT SPARE
438 |  | QW42 | WORD | =COMPUERTA RADIAL+COMPUERTA RADIAL-X?:? | RADIAL GATE SPARE | =0LPY01+0LPY01-A151 | 2 | Output | QW42 | WORD | =COMPUERTA RADIAL+COMPUERTA RADIAL-X?:? | RADIAL GATE SPARE
439 |  | QW44 | WORD | =0LPY01+0LPY01-X34:59 | SPARE | =0LPY01+0LPY01-A151 | 3 | Output | QW44 | WORD | =0LPY01+0LPY01-X34:59 | SPARE
440 |  | QW46 | WORD | =0LPY01+0LPY01-X34:63 | SPARE | =0LPY01+0LPY01-A151 | 4 | Output | QW46 | WORD | =0LPY01+0LPY01-X34:63 | SPARE